## Sheet1
Risk assessment tool for assessing a physical space– Hands, Face, Space, Ventilation, Duration
Ventilation cannot be assessed without first ensuring that other key control measures are in place.
1. Hands
Control measure | Score | Applies
Hand sanitiser/washing facilities at entrance/visual reminders in place | 0 | 1
No hand sanitiser available/no handwashing facilities at all/no visual reminders | 10
2. Face
Select the option for the majority of occupants in the space
Control measure | Score | Applies
FFP3 mask/half mask with filter (un-valved)/air-fed hood | -10
Any face covering | 0 | 1
No face coverings worn | 20
3. Space
A. This relates to the physical distance between people in the space for the majority of the time
Control measure | Score | Applies
>5m | 0
1-5m | 5 | 1
<1m | 10
4. Ventilation
Control measure | Score | Applies
Mechanical ventilation with HEPA filtration | 0
Mechanical ventilation – supplied from fresh air feed | 0
Openable windows/doors – natural ventilation | 5 | 1
Mechanical ventilation – recirculated air/fresh air mix | 10
Mechanical ventilation – completely recirculated air (including recirculating air conditioning units) | 15
No ventilation (internal space or no opening windows) | 15
5. Duration – In multiple occupation
Control measure | Score | Applies
< 15 minutes | 0
30 minutes max | 5
60 minutes max | 10
90 minutes max | 10
>90 minutes | 20 | 1
6. Mitigating factors (please use all that apply)
Control measure | Score | Applies
Air changes per hour above 10 (if known) | -20
Room left empty for 10 minutes prior to occupation with mechanical ventilation that includes outside air running. | -15
Room left empty for 10 minutes prior to occupation with only ventilation from open windows | -10
Static use (minimal movement – people sat at desks i.e. office, lecture etc.) | -5 | 1
7. Additional Risk factors (please use all that apply)
Control measure | Score | Applies
Low aerosol generating activity e.g. lecture/training | 5 | 1
Medium aerosol generating activity e.g. meeting with discussion, eating | 5
High aerosol generating activity e.g. singing, voice projection, drama, loud speaking (e.g. speaking over loud machinery) | 10
Aerobic activity i.e. Gym | 15
RA - Calculation
Section | Score
1. Hands | 0
2. Face | 0
3. Space | 5
4. Ventilation | 5
5. Duration | 20
6. Mitigating Factors | -5
7. Additional risk factors | 5
Total | 30
LOW
Risk rating | Score
Low | <35
Medium | 35-50
High | 50+
Put a 1 in this column opposite the factor or factors which applied